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In addition to the general information required, where the proposed activity involves the following activities, the information listed will be required. 

Discharges to land 
1. Provisions adopted to avoid, remedy or mitigate any adverse effects on surface water, groundwater, soil, human health and the health of plants, animals and ecosystems that may arise from the discharge of contaminants or any runoff, including the sensitivity of the receiving environment and the proximity of the discharge to waterbodies and the coastal marine area;
2. Operational and management procedures, including contingency provisions and maintenance programmes, and for accidental discharges;
3. Design and construction standards, including the provision of bunds and sealing as they relate to any actual or potential discharge of contaminants;
4. The location of the facility relative to sites of high natural or recreational value, registered under the Historic Places Act 1993, of significance to Poutini Ngai Tahu, or distance to any dwelling or public facility not on the site;
5. Monitoring provisions;
6. Extent and location of discharge, including cumulative effects arising from proximity of other discharges to land;
7. The types of waste to be disposed of;
8. Effluent collection, disposal and treatment systems, including the method and rate of effluent application, extent of effluent distribution, and rate of nutrient loading;
9. Size and construction of treatment and storage facilities;
10. Identification of potential hazards and exposure pathways and the acceptability of any risks to the environment;
11. The characteristics, source, composition and volume of wastes being discharged and of any likely by-products occurring from the degradation of these wastes;
12. Method and timing of discharge in relation to weather conditions.
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