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[bookmark: _Toc241456927][bookmark: _Toc241464656][bookmark: _Toc241468426][bookmark: _Toc52793709]19.3	Specific Information Requirements  
In addition to the general information required by 19.2 above, where the proposed activity involves the following activities, the information listed will be required. 

[bookmark: _Ref365960957][bookmark: _Toc241456930]19.3.6	The discharge of water or contaminants
1.	A description of the nature, method, volume, contents, rate and frequency of the proposed discharge;
2.	A description of the treatment, if any, of the water or contaminant prior to the proposed discharge;
1. A description of any measures that may be in place to contain an emergency spill or discharge, should any occur; 
4. An assessment of the ability of the receiving water to assimilate the discharge, in terms of both quantity and quality;
5. An assessment of the effects of the activity on:
(a) The values set out in Schedule 7A, 7B and 7C for any affected water body; and
(b) Significant indigenous vegetation and significant habitats of indigenous fauna; and
(c) The natural character of any affected water body; and
(d) The amenity values supported by any affected water body;
6. An assessment of the likely effect of the discharge on groundwater quality; 
7. An assessment of the effect of the activity on any natural hazard, and the extent to which it is likely to create or exacerbate a natural hazard;
8. An assessment of the effects of the activity on heritage values, including those identified in any district plan, any archaeological site, or any place with interim historic place registration;
9. In the case of stormwater or drainage water discharge: 
(a) A description of the nature of activities served by the system; and
(b) Details of the design of the system, in particular its capacity, its specifications and its maintenance regime;
10. In the case of human sewage or animal waste discharge, details of the design of the system, in particular its capacity, its specifications and its maintenance regime;
11. In the case of pesticide or fertiliser discharge, details of any manufacturer’s directions for handling or application;
12. An assessment of the effects on cultural values. 

[bookmark: _Toc241456931]19.3.7	Acid mine drainage
1.	A detailed description of the geology and geochemistry of the proposed area to be mined including the percentage and type of sulphitic minerals in various lithologies that will be affected by mining;
2.	A detailed description of the geology and geochemistry of the proposed area to be mined;
3.  	A description of the testing regime undertaken to identify acid producing potential;
4.  	An assessment of the likely contaminants (including heavy metals) in any leachate; and
5.  	A description of the mitigation measures that will be employed to manage or prevent acid drainage.

19.3.8	Discharges to land 
1. Provisions adopted to avoid, remedy or mitigate any adverse effects on surface water, groundwater, soil, human health and the health of plants, animals and ecosystems that may arise from the discharge of contaminants or any runoff, including the sensitivity of the receiving environment and the proximity of the discharge to waterbodies and the coastal marine area;
2. Operational and management procedures, including contingency provisions and maintenance programmes, and for accidental discharges;
3. Design and construction standards, including the provision of bunds and sealing as they relate to any actual or potential discharge of contaminants;
4. The location of the facility relative to sites of high natural or recreational value, registered under the Historic Places Act 1993, of significance to Poutini Ngai Tahu, or distance to any dwelling or public facility not on the site;
5. Monitoring provisions, charges for monitoring and inspections;
6. Review of conditions and duration of resource consents;
7. Establishment of a bond;
8. After-care and rehabilitation of the facility following closure;
9. Extent and location of discharge, including cumulative effects arising from proximity of other discharges to land;
10. The types of waste to be disposed of at the facility, or to be composted;
11. Provisions for the development of alternative waste disposal options and measures the applicant will take to implement waste minimisation procedures on site;
12. The storage and disposal of hazardous substances at the facility;
13. Effluent collection, disposal and treatment systems, including the method and rate of effluent application, extent of effluent distribution, and rate of nutrient loading;
14. Provisions for desludging the system and applying sludge to land;
15. Size and construction of treatment and storage facilities;
16. Identification of potential hazards and exposure pathways and the acceptability of any risks to the environment;
17. The characteristics, source, composition and volume of wastes being discharged and of any likely by-products occurring from the degradation of these wastes;
18. Method and timing of discharge in relation to weather conditions.
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